## Sheet1
BOQ
NAME OF WORK: Provision of quick watering arrangement at station yard of JSG
Sl. No. | Item Description | Qty | UOM | Rate | Amount
1 | Control Panel for Pumps with VFD, PLC, HMI for pumping with APFC and suitable capacitors. | 1 | Numbers |  | 0
2 | SITC of Smart Control to Operate system (Pumps and valves) through mobile Communication via GSM Network including SMPS power supply.This has to be installed in MCC Panel. | 1 | Per Unit |  | 0
3 | SCADA for 500 Tab, data analyser. Along with Report Generation. | 1 | Set |  | 0
4 | Connection & Termination of all Power & Control Cables | 1 | Lumpsum |  | 0
5 | Supply & Erection of Chemical Earthing | 4 | Numbers |  | 0
Total Quoted Value (Basic) |  |  |  |  | 0
Total Quoted Value (Including GST@18%) |  |  |  |  | 0